Defibrillator Management Plan

1. Purpose

To ensure the Automated External Defibrillator (AED) is always accessible, functional, and ready for use in an emergency.

2. Location & Accessibility

- Clearly mark AED location with visible signage.

- Ensure it is accessible 24/7 or during operational hours.

- Keep the area free from obstructions.

3. Responsibilities

- AED Coordinator: Oversees maintenance, training, and record-keeping.

- Deputy Coordinator: Acts in the coordinator’s absence.

4. Maintenance Schedule

- 2 weekly: Visual inspection for damage, battery status, and pad expiry dates.

- Monthly: Full operational check using device self-test function.

- After Use: Replace pads, check battery, clean device, and log incident.

5. Training

- Provide CPR and AED training for key staff and volunteers.

- Refresh training every 12–24 months.

6. Record Keeping

- Maintain a log of inspections, maintenance, and training.

- Record any incidents of AED use.

7. Emergency Procedure

- Call emergency services immediately when AED is deployed.

- Follow voice prompts from the AED until help arrives.

8. Review

- Review plan annually or after any AED-related incident.

Policy/Management Plan adopted on the May 2026 to be reviewed in May 2027.